Prosthetics Rehabilitation Service – Care of your prosthesis (artificial limb)

Looking after your prosthesis (artificial limb) 
For safety reasons it is important your artificial limb is well maintained.

- Any noticeable wear and tear should be reported to our service immediately.

- You should not attempt to adjust or repair the prosthesis yourself.

- Your socket should be wiped out every day with a damp cloth, using mild soap and water.

- The outside of your prosthesis can be wiped down with a damp cloth using soap and water, but do not submerge your prosthesis.

- If your prosthesis gets wet, allow it to dry naturally and then have it checked by our service.

- When you are not wearing your prosthesis it should be stored in a clean and dry place.

- Inspect the inside of your socket for damage or foreign objects prior to every use.

Prosthetic Stump Socks 
If you are required to wear stump socks with your prosthesis these will be supplied as necessary.

- You should change your prosthetic stump socks every day (more than once a day during hot weather).

- Wash your socks following the manufacturer’s instructions.

- Depending on the fit of your prosthesis you may need to alter the number and type of socks you wear. This will help ensure your comfort and safety. You will be told how to manage your socks by a member of staff.

Care of Silicone Gel Liners 
When supplied with silicone or gel liners we always recommend that you follow the guidelines issued by the manufacturer. These will be supplied with your liner.

Care of ComfortGel Sock 
The sock should be washed following the manufacturer’s instructions.

Compliments, comments and complaints
If you’d like to compliment, comment or complain about our service please contact:

Customer Services Department
Livewell Southwest
Crownhill Court
Tailyour Road
PL6 5DH
Tel: 01752 435201
Email: customerservicespch@nhs.net

Contact details
The Thornberry Centre
1 Brest Way (off Morlaix Drive)
Derriford
Plymouth
PL6 5XW
Tel: 01752 434200

Opening times
Mon – Fri, 8:30am – 4:30pm

www.livewellsouthwest.co.uk